## Slide 1: Research proposal(M.S.) X-ray Photoelectron spectroscopy (XPS) X-ray communication (XCOM)
2025. 07 .25
나창선

## Slide 2
Contents
Introduction
What is XPS?
Applications of XPS
Future plan (XCOM)

## Slide 3
10A2
10A2 Beamline spec | 
Lightsource | Undulator
Photon energy range | 100-1500 eV
Photon Flux | ~ 1013 Photons / s
Photon Beam size | 10 μm (H) x 30 μm (V)
X-ray
Sample
Spectrometer
e-

## Slide 4
hν = Ek + Eb + фs
The sample emits Photoelectron with kinetic energy(Ek).
Spectrometer measures Ek and calculates the binding energy(Eb)
The process can produce Characteristic x-rays and Auger electrons
These are measured using X-ray Absorption Spectroscopy (XAS)
Characteristic x-ray
X-ray Photoelectron Spectroscopy (XPS)?

## Slide 5
Applications of XPS

## Slide 6
XCOM
Signal
modulation
communication
signal
X-ray detector
X-ray tube
plasma
X-ray tube (CST simulation)
Plasma chamber A plasma chamber will be developed to investigate the transmission of X-ray signals through plasma.
X-ray detector using LYSO etc..
X-ray tube

## Slide 7
XCOM
Figures (a) and (b) show the received signals using a photodiode (PD) under different light intensities. Figures (c) and (d) present the results using a Single Photon Avalanche Diode (SPAD) under different light intensities.
Detector test Pre-tests using an LED light source were conducted to evaluate the detector performance prior to X-ray application. Further experiments are scheduled.

## Slide 8
8
Conclusion
XAS/XPS at 10A2 will be conducted as secondary studies.
The core research will focus on XCOM.
The initial phase of XCOM will involve studying the X-ray tube and detector, followed by the development of the plasma chamber.

## Slide 9
Appendix _ XAS

## Slide 10
Appendix _ Grating