## Slide 1: Design and first operation of a supersonic gas jet based beam profile monitor
Aug. 01, 2025
Woojin Song

## Slide 2: Beam profile measurement
Destructive ways
Scintillation screen monitor
Optical transition radiation
Wire scanner
Non-destructive ways
Synchrotron light monitor
X-ray pin-hole, zone plate
Ionization profile monitor

## Slide 3: Ionization profile monitor (IPM)
X-rays or charged particles ionize the residual gas within the chamber.  Creating ion–electron pairs.
These pairs are extracted before recombination occurs.
Ion distribution at the readout is used to measure the beam profile.
+
-
+
-
Photo-electron
Photo-ion
X-ray
Gas
E field
Repeller electrode
Screen
MCP
Microchannel plate (MCP)
Phosphor screen
Readout (Camera)
+
+
+
+
+
+
+
+
+
+
Visible light
+
+
e-
Photo-ion

## Slide 4: Limitation of residual gas IPM
Image broadening due to the transverse spread
Transverse spread occurs during the drift of ions due to space charge and initial ion energy.
Typically, magnets are installed to compensate for beam broadening.
The difficulty of measuring low-current beams
In UHV, gas density is sparse, resulting in very few events occurring.
Broadening due to the space charge effect of non-relativistic ions
Transverse spread due to thermal energy
Space charge

## Slide 5: Cold supersonic gas jet based beam profile monitor
Ionization by introducing a gas jet instead of residual gas.
Already in use at HIMAC, J-PARC, RHIC, etc.
The gas jet has a high density, significantly increasing the event number.
It also has directionality, maintaining the surrounding UHV environment.
Simultaneous measurement in the X and Y directions is possible in a single chamber.
In this paper: The goal is to create a well-controlled environment using a supersonic gas jet and to accurately analyze the resolution.

## Slide 6: Hardware description

## Slide 7: Working principle
The gas jet is injected perpendicular to the electron beam.

## Slide 8: Jet curtain
Gas jet
Beam Dist.
Proj. Dist.

## Slide 9: Acquisition time estimation
Beam position within 5% confidence, 96% precision for beam profile.  1500 ionization event are required.
Reaction rate
: gas ionization probability, I : beam flux (#/s), : beam charge : ionization cross section, : Gas density, : gas jet thickness  N and H exposed for 1 and 3 seconds, respectively.

## Slide 10: Monitor resolution
Major factors of the resolution
Optics (camera) resolution
MPC Resolution  Determined by channel pitch
Broadening due to gas jet thickness Gas incidence at 45 degrees  effective thickness = W/sin(45), where W is measured by a gas probe.
Space charge effect
Nonlinear external field

## Slide 11: Monitor resolution
Nonlinear external field
Simulation conducted for N2+
Z=0.0 vicinity is dominated by thermal spread and therefore not considered (ion velocity is slow).
Focusing field at Z=0.04~0.12,  focusing field to offset thermal spread in the last electrode-MCP section.

## Slide 12: Monitor resolution
M: magnification factor for cases without thermal spread or space charge
,
For MCP 300, -1300, -2100 V, and M=0.97
Thermal spead

## Slide 13: Gas jet working in pulse mode

## Slide 14: Profile measurements
Large skimmer

## Slide 15: Profile measurements
Small skimmer

## Slide 16: Profile measurements
When the gas jet thickness is thick, the ionization position of the beam is formed over a wide range.
As a result, the measured beam profile appears larger than it actually is, which reduces the resolution.
 | Orientation angle | Gas jet thickness
Larger skimmer | 45’ | 2.55 mm
Small skimmer | 32’ | 0.75 mm

## Slide 17: Conclusion
Verified the operating principle and design of the supersonic gas jet beam profile monitor, and demonstrated its performance through the first experiment.
Confirmed the possibility of improving vacuum conditions through pulse mode operation.
Future improvement directions: - Develop technology to form a thinner and more uniform supersonic gas jet. - Consider introducing a magnetic field to compensate for the space charge effect. - Collaborate with CERN, GSI, etc. to promote application to High Luminosity LHC upgrade.