## Slide 1: Tomography results by using python library
25. 09. 05
POSTECH
PhD/MS combined student
Geunwoo Kim

## Slide 2: Remind: Principle of tomography
Key factors for tomography
1D intensity distribution
Evenly spaced rotation angles from -90º to +90º range.
[Original beam image]
What we want to know
[Reconstructed image]
① 1st projection
② 2nd projection
③ Combine both projection
Notes: https://watkins.cs.queensu.ca/~jstewart/457/notes/ct/06/06-fbp.html

## Slide 3: Data preprocessing: and .
Reconstruction point
Measurement point
Parameters | Specifications
Energy | 70 MeV
Charge | 200 pC
# of particles | 100,000
Space charge | OFF
Bunch length | 1.2739 ps
Phase increment | 0.1 deg

## Slide 4: Data preprocessing: , , and .
We obtained the phase advance from booster cavity phase sweep.
Before move on to apply tomography step, the angle-momentum data, called sinogram, is needed.

## Slide 5: Angle sweep data-taking: Sinogram.
A sinogram, which serves as angle sweep data, can be generated based on the measurement of the phase advance.
By utilizing this sinogram data in conjunction with a one-dimensional momentum distribution, LPS can be reconstructed.
RF cavity phase

## Slide 6: ① Tomography result: use the whole data.
Original bunch length
A lot of artifacts from both unevenly spaced data, and algorithm.
Estimated is 0.583 mm, which has 78% error.
From 1D profiles, we can see the noise clearly.
Need to suppress that noise component to improve tomography performance.
Investigate two major dependencies: , charge cut.

## Slide 7: ① Tomography results: Investigate dependency.
s

## Slide 8: ① Tomography results: Investigate charge cut dependency.
10% cut
20% cut
25% cut
30% cut
22% Charge cut

## Slide 9: ① Tomography results: Compare between initial and cutting
22% cut

## Slide 10: ② Weight matrix construction
Reconstruction point
Measurement point
Forward projection
Backward projection
From algebraic reconstruction equations,
SART:
SIRT:
III. Projection data
II. kth estimated image
I. Weight matrix

## Slide 11: ② Weight matrix construction
What is weight matrix?

## Slide 12: ② Weight matrix construction
When we use ground truth image, calculated sinogram looks similar.
But for the uniform estimation, it is not work properly.

## Slide 13: ② Initial guess dependency
Phase advance 70º cut
0.8% charge cut

## Slide 14: Summary & Next plans
Procedure of tomography
1. Preprocessing
2. Analytic modeling
3-2. Weight Matrix
4. Apply algorithm
5. Verification
Done
Ongoing
3-1. Using library
4. Verification
Future works

## Slide 15: Appendix
Temporal resolution for current simulation set.
± 8 deg range for MMMG phase
Spectrometer error: σ0~70 MeV/c
Kmax=9.036 MeV/c/rad
It can be improved by extension of RF cavity sweep range. Then, Kmax will be increased.