## Slide 1: 45th JKPS
Eliminating uncertainty of thermal emittance measurement in solenoid scans due to rf and solenoid fields overlap

## Slide 2
Solenoid Scan
,
Transfer Matrix Calculation
Measurement – Parabolic Fitting

## Slide 3
Thermal Emittance Measurement
Thermal Emittance (≈ Intrinsic Emittance)
Minimum achievable emittance
Sources of Thermal Emittance Overestimation
Emittance Growth in Beam Transmission
Error of Beam Size Measurement on Screen
Nonlinear space charge effects
RF effects
Optical aberrations
Inaccurate Knowledge of the Transfer Matrix
Dim images due to the low energy
Non-ideal hard-edged solenoid field
RF field and solenoid field overlap

## Slide 4
Modeling RF & Solenoid fields Overlap
2. Transverse force in RF field
Center iris
Exit iris
Radial E-field
: Transverse force is negligible since for the -mode the field is anti-symmetric
: Total transverse force is an impulse given at the exit iris
Focal length
1. Define overlap boundary

## Slide 5
3. Const-momentum approximation
, : Beam momentum after the gun exit
Momentum-related equivalent field
Purpose: preserve the geometric phase space (x, x’)
,
Ratio of the integral strength of the two parts of the solenoid
Gun exit

## Slide 6
Deficiencies of the Conventional Methods
Method 1. Avoid the knowledge of the RF field
Theorical Function & Measurement Function without RF-solenoid fields overlap
,
Measurement Function with RF-solenoid fields overlap
Analyze the overestimation of the thermal emittance

## Slide 7
,
Assume initial condition
Analyze the overestimation of the thermal emittance
Theorical Function
,
Measurement Function with RF-solenoid fields overlap
drift
drift
Solenoid Field
(Non-overlapping)
Solenoid Field
(Overlapping)
RF Field
(Transverse force)
,
The error increases with the increase of

## Slide 8
Method 2. Using the beam dynamics simulation
Beam size measurement results
Replace the transfer matrix calculation with start-to-end simulation
Beam size
Simulation results
Matching between
measurement results and simulation results
Changing thermal emittance in simulation
Limitations
Requires accurate knowledge of beamline parameters
Mismatch between simulation and the real beamline leads to uncertainties in the measured thermal emittance
RF gun field profile
Distance between simulation and the real beamline

## Slide 9
New Method
Theorical Function with RF-solenoid fields overlap
drift
drift
Solenoid Field
(Non-overlapping)
Solenoid Field
(Overlapping)
RF Field
(Transverse force)
Unknown
drift
drift
Solenoid Field
(Non-overlapping)
Solenoid Field
(Overlapping)
RF Field
(Transverse force)
Equivalent Transfer Matrix
Equivalent Initial Beam Matrix

## Slide 10
Theorical Function with RF-solenoid fields overlap
Measurement Function with RF-solenoid fields overlap
,
,
Assume initial condition

## Slide 11
Simulation
Method one
New Method
()
New Method
()
Further study about approximation in the PITZ beamline
Approximation 1:
Approximation 2:
,
,
⇒ Error of the Thermal Emittance 0.09%
⇒ Error of the Thermal Emittance 0.11%
⇒ Error of the Thermal Emittance 2.2%

## Slide 12
Experiments
PITZ beamline
AWA beamline
ASTRA Simulation: Method Two
⇒ RF field profile is similar between ASTRA and the real beamline
New Method: = ASTRA Simulation Field Profile
⇒ New Method is accurate for solenoid scan
ASTRA Simulation: Method Two
⇒ RF field profile or relative distance differs between ASTRA and the real beamline
New Method:
⇒ New Method is robust against uncertainties in the RF field profile or beamline geometry