## Slide 1: Capacitive Pick-up Type Beam Shape monitor
2026. 03. 27 –
나창선

## Slide 3: Capacitive Pick-up Type Beam Shape monitor (CPU-BSM)
A diagnostic device for measuring the longitudinal bunch shape of ion beams
The bunch shape is inferred from the induced signal measured by a capacitive pick-up
Non-destructive measurement
Simple structure and easy installation

## Slide 4: Conventional Bunch Shape Measurement Methods
특론: 빔진단, 고주파 및 초전도 기술
Fast Faraday Cup
A. Feschenko’s BSM (wire type)
Feschenko, Bunch Shape Measurements, PAC 2001
Zwicker et al., Non-invasive bunch shape monitor IBIC 2013
Residual Gas BSM
Measures the longitudinal bunch shape using secondary electrons emitted from a wire target.
Direct measurement of the beam current using a conductive cup. (destructive method)
Measures the bunch shape using secondary electrons generated by beam interaction with residual gas.

## Slide 5: Pick-up Type BPM
Abdillah et al., “Bunch measurements with BPM,” IPAC 2022
In non-relativistic beams, the longitudinal electric field is spatially extended, leading to a capacitive pick-up signal that is longer than the actual bunch shape
, accurate bunch shape measurement is possible.
, significant distortion occurs.

## Slide 6: Impedance Matching
Impedance
,
Characteristic impedance
impedance matching ensures compatibility between components
In RF systems, the characteristic impedance is typically matched to 50 Ω
The characteristic impedance depends on the geometry rather than the material.

## Slide 7: Impedance Matching – Characteristic Impedance
Coax
Microstrip

## Slide 8: Impedance Matching
S-parameter
: transmission coefficient between ports
Beam guard
Due to the influence of the beam guard, standard microstrip-based impedance calculations cannot be directly applied
Evaluated using CST simulations.
Matching structure
Impedance matching between the pick-up ring and the coaxial structure

## Slide 9: CST Simulation
Simulations were performed using a non-optimized structure.
The beam parameters were set to match those used in the reference study.
For β = 1, the measured signal closely follows the input distribution.
β decreases, the measured signal becomes increasingly broadened compared to the input bunch.

## Slide 10: CST Simulation Result
Distribution: Gaussian :
0.1, 0.2, 0.3, 0.8, 1
CST 설계 miss

## Slide 11: CST Simulation Result

## Slide 12: Reconstruction Algorithm
Motivation :
In non-relativistic beams, the longitudinal electric field extends along the beam direction
As a result, the signal measured by the CPU-BSM is longer and distorted compared to the actual bunch shape.
Convolution model :
The measured signal Q_im(t) is expressed as the convolution of the actual bunch shape H(t) and the system response function G(t)
The key idea is to recover H(t) by deconvolving the

## Slide 13: Summary
A non-destructive diagnostic device is required to measure the longitudinal bunch length of ion beam.
Capacitive pick-up type diagnostics are non-destructive, but the measured signal does not represent the actual bunch shape at low β.
The CPU-BSM improves signal transmission through impedance matching and structural optimization.
A reconstruction algorithm is used to recover the actual bunch shape from the distorted signal.
CST simulation results show the signal distortion and confirm its dependence on β
Future work.
Impedance matching using a coaxial structure (in progress).
Optimization of impedance for a larger-diameter CPU-BSM structure.
reconstruction algorithm for a larger-diameter CPU-BSM structure.

## Slide 14: Appendix - CST simulation result

## Slide 15: Appendix - CST simulation result

## Slide 16: Appendix
이온이 material에 부딪히면 에너지에 따라 침투 깊이가 달라지고 material에서 나오는 전자의 개수 도 달라짐
Faraday cup

## Slide 17: Appendix

## Slide 18: Appendix – frequency
cut-off frequency (최대 주파수)
R: 임피던스 (50 Ω 고정)
C: 캐패시터 용량
A: 전극 면적
: 전극 간격
유전률 (vacuum=1)

## Slide 19
Beam parameter
CPU-BSM의 그린 함수 를 도출하고 설계의 타당성을 검토하는 데 사용되었습니다.(4~6p)
분포 형태 (Distribution): Gaussian (종방향) 번치 길이 (): (Standard Deviation) 번치 전하량(Picocoulomb) 상대론적 속도 0.1, 0.2, 0.3 (세 가지 케이스에 대해 각각 수행) 주요 주파수 대역: 최대 까지 (번치 길이 의 주파수 성분 99%를 포함하는 범위)
실제 실험 환경에서의 빔 오프셋(Beam Offset)에 따른 측정 오차를 평가하기 위해 수행된 시뮬레이션(11p)
분포 형태 (Distribution): Gaussian (종방향) 번치 길이 (): 참고: 실제 RFT-30 사이클로트론의 실험 환경과 유사하게 설정하기 위해 더 짧은 번치를 사용함.
상대론적 속도 (): 0.23 (에너지 약 의 양성자 빔) 변수 (Beam Offset): x 방향 오프셋(수평) y 방향 오프셋 (커넥터 방향 및 반대 방향)
이동 거리: 1 mm 2 mm등

## Slide 20: \

## Slide 21
h
W
t

## Slide 22
a
b
(유전율)