## Slide 1: Study of the Virtual Pepper Pot and Preliminary Application of the Differential Slit Method
03. Apr. 2026
Jiyoung Choi
POSTECH

## Slide 2
Outline
1. Virtual Pepper Pot (VPP) study
2. Simulation results with conventional VPP
3. Preliminary application of the Differential Slit Method
4. Summary and Next steps
Principle of VPP
Simulation conditions
Large beam case
Small beam case
Concept of the Differential Slit Method
Reconstruction result
Comparison with conventional VPP

## Slide 3
1. Principle of the Virtual Pepper Pot (VPP)
Motivation
Limitation of conventional measurements
Multi slit measurement
Pepper pot measurement
Virtual pepper pot method
Cannot provide coupling information
Full 4D phase space reconstruction
2D phase space reconstruction
Resolution-Signal trade-off
Small apertures ↔ Reduced signal (Low SNR)
Dense holes ↔ Beamlet overlap
Full 4D phase space reconstruction
Avoids physical Pepper pot limitations

## Slide 4
What is the Virtual Pepper-Pot (VPP)?
Full 4D phase space reconstruction
Generate pepper-pot like image using slit scan
Minimum Bit Principle
Measurement
Analysis
Slit Scan Measurement
Pepper -Pot
Virtual Pepper Pot

## Slide 5
1) VPP Beamlet Image Processing
Minimum Bit Principle
: Beamlets are constructed by selecting the pixel-wise minimum intensity between horizontal and vertical slit scans to avoid overestimation.
2) Reconstruction process
2D Gaussian Fitting of each beamlets
,
,
: 2D Gaussian fitting determines the beamlet peak position which is used together with slit center to compute the divergence
Pepper Pot
Virtual Pepper Pot

## Slide 6
1. Simulation Setup
Slit
Screen
Parameter | Value
Slit to Screen distance () | 
Slit width () | 
Slit spacing () | 
Parameter | Value
Slit
<KOMAC BTS Layout>
Slit moving

## Slide 7
Input Beam (After RFQ)
Baseline verification with an uncoupled beam
Space Charge effect excluded
No x-y coupling in the input beam
Used to verify the basic VPP reconstruction procedure before extension to coupled beam case
Parameter | Value
Particle | Proton
Energy | 1 MeV
Current | 0 mA
# of Macroparticles | 100,000
Parameter | Value
Particle | Proton
Energy | 1 MeV
Current | 0 mA
# of Macroparticles | 100,000

## Slide 8
2. Conventional VPP Results
GT (Screen)
Parameters | Slit position | Recon. Error (%)
 |  | 0.79 %
 |  | 2.23 %
 |  | 1.34 %
 |  | 10.24 %
 |  | 11.68 %
 |  | 10.00 %
 |  | 11.35 %
 |  | 5.64 %
 |  | 4.98%
Parameters | Slit position | Recon. Error (%)
 |  | 0.79 %
 |  | 2.23 %
 |  | 1.34 %
 |  | 10.24 %
 |  | 11.68 %
 |  | 10.00 %
 |  | 11.35 %
 |  | 5.64 %
 |  | 4.98%
GT (Slit)
Large Beam Case

## Slide 9
2. Conventional VPP Results
Parameters | Slit position | Recon. Error (%)
 |  | 5.30 %
 |  | 4.43 %
 |  | 9.51 %
 |  | 1.61 %
 |  | 17.41 %
 |  | 62.29 %
 |  | 10.82 %
 |  | 3.47 %
 |  | 11.16%
Parameters | Slit position | Recon. Error (%)
 |  | 5.30 %
 |  | 4.43 %
 |  | 9.51 %
 |  | 1.61 %
 |  | 17.41 %
 |  | 62.29 %
 |  | 10.82 %
 |  | 3.47 %
 |  | 11.16%
GT (Screen)
GT (Slit)
Small Beam Case

## Slide 10
1st
2nd
w
Virtual Pepper Pot의 screen data는 개별적으로 저장되므로 Beamlet의overlapping이 없음.
Case 1: Slit scan distance w = 1mm
Case 2: Slit scan distance w = 0mm
Beamlet 33 (4*9)
Beamlet 1008 (25*55)

## Slide 11
Case 1+: Slit scan distance w = 1mm | Change the # of Macroparticles
100k
700k
3M

## Slide 12
3. Differential Virtual Pepper Pot (DVPP)
What is the Differential Slit Method?
Slit
Limitation of Conventional VPP
Slit width에 의한 uncertainty 존재
i번째 scan data랑 i+n번째 scan data에 대한 minimum bit principle
scan
diff. process
diff. data
vpp. process
beamlet

## Slide 13
Parameters | Slit position | DVPP Recon. Error (%)
 |  | 2.95 %
 |  | 0.64 %
 |  | 3.57 %
 |  | 2.01 %
 |  | 11.46 %
 |  | 15.65 %
 |  | 7.98 %
 |  | 2.48 %
 |  | 6.21 %
Parameters | Slit position | DVPP Recon. Error (%)
 |  | 2.95 %
 |  | 0.64 %
 |  | 3.57 %
 |  | 2.01 %
 |  | 11.46 %
 |  | 15.65 %
 |  | 7.98 %
 |  | 2.48 %
 |  | 6.21 %
DVPP는 2번의 minimum bit principle 과정을 거치기 때문에 더 많은 particle 수가 요구됨.
# of Macroparticles : 3M
3. Results of DVPP

## Slide 14
3. Compare with VPP
Two Way of Data Analysis for VPP & DVPP
Gaussian Fitting of Each Beamlets
Gaussian Fitting of Recon. Data

## Slide 15
4. Summary and Next Step
Summary
Next Step
Baseline VPP verification was performed under idealized conditions without space charge or x–y coupling.
The conventional VPP method worked reasonably well for the relatively large-beam case.
In the small-beam case, the conventional VPP method showed relatively large errors, especially in divergence-related quantities.
The DVPP method showed improved reconstruction performance for the small-beam case.
Further analysis is required to understand the simulation results, including the appropriate number of macroparticles and the limitations of the conventional VPP method.
Future studies will include space charge effects and coupled-beam cases.
More realistic DVPP simulations based on eLABs conditions will be carried out.