## Slide 1: Virtual Pepper-Pot Analysis Method
June 25, 2026

## Slide 2
Outline
1. Virtual Beamlet Construction
2. Review of Reconstruction Method
3. Fitting-Free Reconstruction Process
Slit scan measurement & Minimum-bit principle
2D Gaussian fitting
1D Gaussian fitting
Using virtual beamlet distributions
Finite slit width correction
Individual virtual beamlet threshold
4. Simulation Results
Input beam matrix1
Input beam matrix2

## Slide 3
Measurement & Constructed Virtual Beamlet
Pepper Pot
Virtual Pepper Pot
: Beamlets are constructed by selecting the pixel-wise minimum intensity between horizontal and vertical slit scans to avoid overestimation.
Minimum-bit Process

## Slide 4
,
,
Refer by “Characterization and benchmarking of complete 4D transverse phase space for high intensity ion beams using novel virtual pepper-pot technique” paper
2D Gaussian Fitting
1D Gaussian Fitting
Before Reconstruction Process
: 2D Gaussian fitting determines the beamlet peak position which is used together with slit center to compute the beam divergence
Each beamlet is projected onto the x- and y-axes, and then fitted with 1D Gaussian functions.

## Slide 5
Fitting-Free Reconstruction Process
Virtual Beamlet
Reconstruction
from
Virtual Beamlet Distributions
Same as Before

## Slide 6
: pixel intensity

## Slide 7
Finite Slit-Width Correction
Slit
Slit moving

## Slide 8
Individual Virtual Beamlet Threshold
Divergence contribution to the angular variance
Individual Virtual Beamlet Threshold
Threshold scan
*Threshold = r

## Slide 9
Simulation Results – Matrix1:
Threshold = 0.1 | Ground Truth | Reconstructed | Error
 | 3.941 | 3.832 | 2.76%
 | 4.266 | 4.187 | 1.85%
 | 4.078 | 3.984 | 2.29%
Threshold = 0.1 | Ground Truth | Reconstructed | Error
 | 3.941 | 3.832 | 2.76%
 | 4.266 | 4.187 | 1.85%
 | 4.078 | 3.984 | 2.29%
 | Ground Truth | Reconstructed | Error
 | 3.522 | 3.420 | 2.89%
 | 4.029 | 3.889 | 3.49%
 | 0.981 | 0.954 | 2.71%
 | 3.661 | 3.485 | 4.80%
 | 0.0113 | 0.0109 | 2.99%
 | Ground Truth | Reconstructed | Error
 | 3.522 | 3.420 | 2.89%
 | 4.029 | 3.889 | 3.49%
 | 0.981 | 0.954 | 2.71%
 | 3.661 | 3.485 | 4.80%
 | 0.0113 | 0.0109 | 2.99%
Input beam matrix from experimental VPP reconstruction at the slit position
(KOMAC BTS, QM3 = 15 A)

## Slide 10
Simulation Results – Matrix2:
Threshold = 0.1 | Ground Truth | Reconstructed | Error
 | 4.210 | 4.391 | 4.30%
 | 3.460 | 3.294 | 4.80%
 | 3.770 | 3.761 | 0.25%
Threshold = 0.1 | Ground Truth | Reconstructed | Error
 | 4.210 | 4.391 | 4.30%
 | 3.460 | 3.294 | 4.80%
 | 3.770 | 3.761 | 0.25%
 | Ground Truth | Reconstructed | Error
 | 2.240 | 2.047 | 8.58%
 | 6.371 | 5.776 | 9.34%
 | 1.776 | 1.775 | 0.05%
 | 2.948 | 2.911 | 1.26%
 | 0.025 | 0.023 | 8.63%
 | Ground Truth | Reconstructed | Error
 | 2.240 | 2.047 | 8.58%
 | 6.371 | 5.776 | 9.34%
 | 1.776 | 1.775 | 0.05%
 | 2.948 | 2.911 | 1.26%
 | 0.025 | 0.023 | 8.63%
Input beam matrix from experimental VPP reconstruction at the slit position
(KOMAC BTS, QM3 = 20 A)

## Slide 11
Appendix A. Threshold
Before threshold
After threshold
Input Beam Matrix1