## Slide 1: RF reference distribution and operation experiences in PAL-XFEL
Chang-Ki Min
on behalf of the PAL-XFEL team
Gyujin Kim, Jinyul Hu, Dongchul Shin, Seonghoon Jung, Inhyuk Nam, Changbum Kim, Hoon Heo, Heung-Sik Kang (PAL, POSTECH)
MSK group in DESY, Ingenieurbüro Gronefeld
Pohang Accelerator Laboratory

## Slide 2
PAL-XFEL
2011 ~ 2015: Construction
2016: Commissioning
2017: User-service started
2019 : 60 Hz operation
: Hard X-ray self-seeding service
PAL-XFEL
PLS-II

## Slide 3: Outline
RF Timing dist. and Synchronization design and operation (~8 years)
Beam based feedback: Example, self-seeded operation mode
Beamline
- Additional phase control for laser system.
- Plan : Implementing optical timing

## Slide 4: PAL-XFEL Parameters
Undulator Line | HX1 | SX1
Photon energy [keV] | 2.5 ~ 12.8 -> 14.5 keV | 0.3 ~ 1.2
Beam Energy [GeV] | 4 ~ 10 -> 10.5 GeV | 3.15
Wavelength Tuning | energy | gap
Undulator Type | Planar, out-vac. | Planar
Undulator Period / Gap [mm] | 26 / 8.3 k = 1.87 | 35 / 9.0
Self-seeding
  Main parameters
  e- Energy 10 GeV -> 10.5 GeV
  e- Bunch charge 20-200 pC
  Slice emittance < 0.5 mm mrad -> 0.3
  Repetition rate 60 Hz
  Pulse duration 10 fs – 100 fs
  Peak current 3 kA
  SX line switching DC (Phase-1)
  Kicker (Phase-2)
30A
2 ps
200A
300fs
3kA
20fs
1kA
60fs

## Slide 5
Injector Laser
Experimental Lasers
for soft X-ray
Experimental Lasers
for hard X-ray
RF components
in Linac
And diagnostics
(bunch arrival time monitor)
Femtosecond synchronization

## Slide 6
Integrated jitter (1 KHz~ 1 MHz) : ~0.8 fs
-160 dBc/Hz at 100KHz offset
-170 dBc/Hz at 1 MHz offset
2.856 GHz phase noise
100 kHz
1 kHz
-160dBc/Hz

## Slide 7
PAL-XFEL timing distribution (2.856GHz RF), ~1.5 km
Low phase noise timing source
(RF, Optical oscillators)
Slow feedback
: energy, peakpower, etc
Drift compensation
How slow
the Drift?

## Slide 8
Integrated jitter (1 KHz~ 1 MHz) : ~0.8 fs
-160 dBc/Hz at 100KHz offset
-170 dBc/Hz at 1 MHz offset
2.856 GHz phase noise
Integrated jitter (1 Hz~1MHz) : ~0.6 fs
476 MHz 2.856 GHz PLL
Performance

## Slide 9
Temperature stabilization of RF Cables
With cover open
LCW flow diagram
Duct cross-section
Temperature stability of Duct : 0.01℃/day
45
100
RF cable
Cushion
Water tube
Metal sheet
Thermal
insulator
Cover

## Slide 10
Phase Drift monitoring using drift-free optical link
~750 m
Libera Sync3
<10 fs rms jitter
~ 0.5 ps/day (corresponding to ~0.005℃)

## Slide 11
Time scale of timing error in reference timing distribution
100 Seconds 10 minutes 1 hour 1day
Chart: 
| 100 | 300 | 600 | 1800 | 3600 | 7200 | 14400 | 30000 | 84000
 | 10.2 | 11.8 | 14.8 | 19.1 | 24.8 | 34.7 | 48.2 | 156.6 | 275.3
Time (Seconds)
Jitter (fs RMS)
14.8 fs RMS
10.2 fs RMS
24.8 fs RMS
275 fs RMS
Limited by
Measuement sensitivity
(~10fs RMS)

## Slide 12
Photocathode gun - e- bunch arrival jitter
Home-built sensitive phase detector
Between RF and optical laser
(2.856 GHz) (79.33MHz Ti:S)
Provides 10 fs level jitter
Gun RF amplitude stability
for one day
0.007~0.012% RMS
RF system adds ~10-4 amplitude jitter
~10 fs timing jitter

## Slide 13
≈14 fs residual phase jitter from 1 Hz to 100 KHz
Out-of-loop measurement
Offset Frequency (Hz)
Phase Noise at 2.856 GHz (dBc/Hz)
Free running Ti:S
Residual
DRO
Locked Ti:S
Measurement
noise floor

## Slide 14
Machine stability : Beam arrival time jitter at gun
GUN, ~11 fs rms
1hour
Klystron : operated in the saturated regime.
Modulator : 30 ppm CCPS-PFN type
Gun temperature change compensated by GUN-LLRF

## Slide 15
Linac beam based feedback

## Slide 16
Self seeding FEL intensity stability

## Slide 17
Gun phase, beam based feedback

## Slide 18
FEL timing jitter
18.3 fs RMS
- No timing jitter correction
- Only slow time-drift correction
Bi(111) Bragg diffraction intensity modulation

## Slide 19
DDS phase shifter for laser
<10 fs jitter & drift
with programmable delay time
12 hour
10 fs rms
160dBc
Pulse by pulse delay contorl of laser pulses

## Slide 20
Pump probe delay control and jitter reduction plan

## Slide 21
Thank you for your attention

## Slide 22: Optical timing test (Libera Sync 3, 2.2 km, 3days)
B : Reference
Phase
A : Libera Sync
Phase
A -B
B : Reference
amplitude
A : Libera Sync
amplitude
Phase drift
<10fs