## Slide 1
EPICS Core Developments and Plans Ralph Lange for the EPICS Core Developers
EPICS Collaboration Meeting April 2024

## Slide 2
Outline
Past
  Changes in Base 7.0.7 (September 2022)
Present
  Changes in Base 7.0.8 (December 2023)
Plans
  Changes under review or development
  Future plans and ideas for the IOC
  Long term plans
Java
  Changes in recent releases, under review or development

## Slide 3
Past
Features Released in EPICS 7.0.7

## Slide 4
EPICS Releases since 2021
EPICS 7.0.6 04 July 2021
Base 3.15.9 31 August 2021
EPICS 7.0.6.1 06 October 2021
EPICS 7.0.7 07 September 2022
EPICS 7.0.8 15 December 2023

## Slide 5
Changes in EPICS 7.0.7
For a full list, see the Release Notes on epics-controls.org
Made epicsInt8 signed on all architectures — was previously unsigned where char was unsigned (e.g., PowerPC)
Breaking change to db_field_log, affecting IOC channel filters
Builds with newer compilers can auto-detect GNU Readline
aao records now have OMSL and DOL, can copy arrays between records
IOC’s CA server exports RSRV_SERVER_PORT (TCP port number)
Output record types now support RAW Simulation mode (convert VAL to RVAL, write it through SIOL)
Coloured many IOC warning & error messages, except when logged

## Slide 6
More Changes in EPICS 7.0.7
Accept hex and octal values in hardware links (leading 0 ⇒ octal)
Fixed time synchronization issues on VxWorks 6.9
Build system updates to stop a top-level make uninstall from triggering the clean target; setting INSTALL_LOCATION works again
pvAccessCPP: bug fixes (enum) and performance improvements
pva2pva: access security hooks; timestamp.userTag from UTAG field

## Slide 7
Present
Features released in EPICS 7.0.8

## Slide 8
Changes in EPICS 7.0.8
pva2pva(QSRV1): fix for dbLoadGroup (broken in 7.0.7)
Calc expressions may use the new function FMOD(NUM,DEN)
iocShell built with GNU Readline supports tab-completion of commands, filenames, record names, var names and pdbbase
History file (bash-like) for iocShell
ANSI escape sequences are printed on the stderr stream (colours!)
MacOS builds will detect and use GNU Readline from Homebrew or MacPorts if it’s available; Apple’s libedit can’t do tab-completion
Menu fields can hold a value that is not a valid choice. Fetching one as a string now returns the numeric value as a string instead of an error
The capr.pl script has improved significantly since 7.0.6.1

## Slide 9
More Changes in EPICS 7.0.8
The new OOPT field in the longout record controls whether the output value gets written to device support, similar to the calcout record
bi record “Raw Soft” support uses MASK field
Scan and callback threads are stopped on normal IOC shutdown
Improved sub record behaviour on bad INP* links

## Slide 10
Changes in EPICS 7.0.8 from the Codeathon 2023
Results of the Codeathon at Diamond in March 2023 have been merged:
Setting the new compress record PBUF field to YES enables partially filled buffers to be processed with the N-to-1 algorithms (introduced a bug that will be fixed shortly)
A subroutine record with an invalid INP* link no longer fails silently
Many C & C++ compiler and UBSan warnings have been cleaned up
The code now has a .editorconfig file, format checked by CI builds
The “ts” server-side filter can now fetch a record’s timestamp with a choice of formats. The updated filter documentation has details
A new dbCreateAlias iocShell command allows record aliases to be defined (before iocInit) without loading a separate .db file
More detailed and better-formatted iocShell “help” command output

## Slide 11
More Changes in EPICS 7.0.8 from the Codeathon 2023
Environment variable EPICS_CLI_TIMEOUT to set default timeout for catools (caget etc.)
Generate error on any attempt to alias a record.field
Unit tests created for standard record types (ai, bi, bo, printf)
Add CI cross-build tests for aarch64 and linux-arm (BE and LE) targets
More Doxygen annotations for header files in libCom and ca
New EPICS_PRINTF_FMT(format_string) annotation macro to let Microsoft compilers check printf-like declarations
Support modules may call errSymbolAdd() after early initialization
Fix timestamps on array-record NORD field updates
Additional work on the RTEMS target code, including RTEMS-6

## Slide 12
Future
What next?

## Slide 13
Under Review or Development
Server-side filter to read record info() item strings
Explicit INT and EXT link modifiers to help detect typos in PV names
  INT means link target must be local to the IOC (EXT overrides)
  Additional DB-file syntax can set default to one of these
Add OOPT to more output record types (only write “On Change” etc.)
Link type that can do file I/O
Make the next generation user-level API library PVXS part of Base
Rebase QSRV (the IOC PVA server) on top of PVXS: QSRV2

## Slide 14
Future Plans and Ideas for the IOC
Features being considered:
  Server-side filtering of put operations (semantics tricky)
  How to support complex structures as database fields
  JSON link addresses for device support

## Slide 15
Long Term Plans
Next major release – EPICS 7.1
  No specific timetable for this yet
  Will require C99 and C++11 compilers (GCC 4.8.1)
    No support for VxWorks 6.x or RTEMS 4.x
IPv6 is supported by the next-gen PVA libraries (PVXS, core-pva) Should Channel Access also get it??

## Slide 16
Java
EPICS Java and Services Developments

## Slide 17
EPICS Core Java and core-pva
epicsCoreJava (old PVA libraries) and JCA (CA library) are broadly stable
Replace internal JCA data structures with standard Java equivalents
More JCA configuration properties (e.g., socket timeouts)
Ensure support with newer Java versions (16, 17 LTS, …)
core-pva (2nd gen PVA library) is stable
Used in Phoebus for years… core-pva is the default PVA library
All EPICS middle layer services (alarm, archive appliance, save and restore, …) have been migrated to core-pva
cfnameserver: Early prototype of a channelfinder-based nameserver for pvAccess

## Slide 18
Middle Layer Services
All middle layer services are being standardized to use the same structure/solution for Authentication/Authorization (AA)
ChannelFinder Directory Service
Expanded testing and code coverage (CI / Sonar)
PR: Migration to JDK 17 (maintaining compatibility)
Phoebus Olog
Support for non-destructive edit / edit history
Expanding testing and code coverage (CI / Sonar)
PR: Migration to JDK 17 (maintaining compatibility)

## Slide 19
Middle Layer Services
Save and Restore
Migrated to use core-pva
New release with an expanded REST API
Alarm Services
Migrated to use core-pva
WIP: Expanding the annunciator, possibly making it a standalone service for better integration with various notification interfaces
WIP: Upgrading Kafka 2.2 to 3.x – aiming at better catching and reporting errors to improve the reliability of Alarm Services

## Slide 20
Middle Layer Services
Archive Appliance
Moved to a new dedicated GitHub organization https://github.com/archiver-appliance
Migrated to use core-pva
New build system (Gradle) simplifies updating dependencies – potentially migrating to Maven at the next Codeathon (June 24)
Use Google protobuf 3 (with protobuf 2 syntax to ensure compatibility)

## Slide 21
Thank You for Your Attention!
Comments or Questions?