## Slide 1: Selective electron beam sensing through coherent Cherenkov diffraction radiation
Nov. 22, 2024
Woojin Song

## Slide 2: Beam Position Monitor (BPM)
Fluorescent screen
Strip line BPM
Button BPM
Cavity BPM

## Slide 3: Beam Position Monitor (BPM)
BPM electronics
Calibration
TbT feedback
Thermal noise reduction

## Slide 4: Cherenkov Diffraction Radiation BPM (ChDR BPM)
Why is a new approach to BPM necessary despite the existence of conventional methods?
1. Two copropagating beams are indistinguishable.
Cornell electron storage ring (CESR)
Advanced WAKEfield Experiment (AWAKE)

## Slide 5: Cherenkov Diffraction Radiation BPM (ChDR BPM)
2. Higher response  Leads to better resolution
3. Small aperture  Suitable for small chambers, no heat generation issues.
30mm
8.7mm
3GSR BPM (PLS-II)
4GSR Vacuum Chamber
66mm
Φ8mm

## Slide 6: Classical Cherenkov Radiation
Particle speed :
Light speed (in medium) :
Emission angle :
Vacuum
Glass
Beam

## Slide 7: Cherenkov Diffraction Radiation
The radiation field is a solution to the vacuum macroscopic Maxwell equation with the polarization current.
Maxwell’s equations lead to the following equation for the magnetic field of polarization radiation:
The spectral-angular density of polarized radiation can be determined from the relation
Substance

## Slide 8: Cherenkov Diffraction Radiation
: Vertex angle of the prism
: Azimuthal angle
: Polar angle
: Impact parameter : Wavelength

## Slide 9: Cherenkov Diffraction Radiation
Intensity of ChDR vs h and λ

## Slide 10: Coherent Cherenkov Diffraction Radiation
Emission from all the particles in the bunch
Longitudinal form factor, expressed by a Fourier transform of the longitudinal particle distribution within the bunch.
In the case of Gaussian longitudinal profile,

## Slide 11: Radiator
Ф 60 mm
Alumina
WR28 waveguide (TE10) 1.5 m

## Slide 12: Radiator Optimization
What we want to observe with ChDR: Electron beam position.
The strong proton beam can be monitored with button BPM.
How can we distinguish them?
 Low-cutoff frequency

## Slide 13: Radiator Optimization
6 mm radiator (9.6 GHz cut)
1. 30 GHz electron beam signal measure
2. Avoid Radiation from proton blow 1 GHz

## Slide 14: Results
Experiment conducted at AWAKE.
Signal from a single radiator.
No signal observed when the proton beam is present.
 Successfully separated the electron beam.

## Slide 15: Results
The position is calculated using Difference Over Sum (DOS).
Measurements were taken within a 5 mm range, and the response matched well with the simulation results.

## Slide 16: Discussion
With coherent ChDR, it's possible to measure various beam parameters beyond just the position.
Ex) Bunch length measurement - Short bunch, high energy
 It is advantageous for FEL and P(L)WFA applications.

## Slide 17: Summary
Proposed new diagnostic technology: The non-invasive approach using ChDR can detect beam positions even in areas that are challenging to access with existing technologies.
Various application possibilities: Advantageous for analyzing beam characteristics in high-energy and ultra-short pulse accelerators.
Adaptability to plasma environments: Less affected by noise in plasma, making it applicable in future plasma-based accelerators.

## Slide 18: Outlook